## Export Summary
This document was exported from Numbers. Each table was converted to an Excel worksheet. All other objects on each Numbers sheet were placed on separate worksheets. Please be aware that formula calculations may differ in Excel.
Numbers Sheet Name | Numbers Table Name | Excel Worksheet Name
RawExport
| Table 1 | RawExport
ProjList_Init
| Table 1 | ProjList_Init
ProjList_Mod
| Table 1 | ProjList_Mod
Pivots
| PivotTable1 | Pivots - PivotTable1
| Table 1 | Pivots - Table 1
Sheet4
| Table 1 | Sheet4
Lookups
| Table 1 | Lookups

## RawExport
Building Partnerships
FMP Cost Estimate January 29, 2024
San Marino Unified School District Facility Masterplan San Marino, CA
Prepared for LPA Design Studios, Inc.
San Marino Unified School District Facility Masterplan January 29, 2024
INTRODUCTION
1. Basis Of Estimate
This cost estimate is based upon documents and quantities provided by LPA Design Studios, Inc.
2. Excluded Costs
The following cost items are excluded from this estimate.
1) Escalation is not included. Pricing good through the end of 2024. 2) Land purchase costs. 3) Off-site work, unless noted otherwise. 4) Costs of hazardous material surveys, abatement, and disposal, unless noted otherwise.
5) FF&E, unless noted otherwise.
3. Clarifications
This estimate is based upon the following assumptions.
1) A competitive bid environment at subcontractor and GC level. 2) The use of prevailing wage labor rates. 3) We are assuming a traditional design -bid - build procurement methodology. 4) Unit costs are inclusive of General Conditions, General Requirements, Overhead and Profit, Bonds and Insurance and Design Contingency. 5) Softs costs are estimated at 33% per LPA Design Studios, Inc.
4. Typical Assumptions
This estimate is based upon the following assumptions.
1) Structural upgrades to buildings built before 1986 (Northridge earthquake), unless noted otherwise. 2) Asbestos abatement to buildings built before 1977 (Asbestos banned in construction), unless noted otherwise. 3) Safety door locks to buildings built before 2012 (Sandy Hook), unless noted otherwise.
4) Fire alarm replacement to fully addressable to buildings built before 2013 (Title 24), unless noted otherwise 4) LED Lighting replacement to buildings built before 2013 (Title 24), unless noted otherwise
5) Grossing factors for new construction as follows: One-story classroom: 1.33 One-story admin: 1.40 Two-story classroom: 1.50 Two-story admin: 1.60
San Marino Unified School District Facility Masterplan January 29, 2024
MAIN SUMMARY
Total
School Site |  |  | Site Area (SF) Existing Building New Building Area (SF) Area (SF) | [7 empty] | TOTAL PROJECT COST (2024$)
Carver ES |  |  | 435600 |  |  |  | 52770 |  | 18520 |  | 49788000
Valentine ES |  |  | 339768 |  |  |  | 35880 |  | 39581 |  | 64695000
Huntington MS |  |  | 631620 |  |  |  | 64030 |  | 8308 |  | 51816000
San Marino HS |  |  | 1080288 |  |  |  | 150194 |  | 50577 |  | 171492000
TOTAL PROJECT COST (2024$) | [10 empty] | 337791000
San Marino Unified School District Facility Masterplan January 29, 2024
COMPREHENSIVE SUMMARY
Program Scope |  |  |  |  | Carver ES Valentine ES Huntington MS
1. Modernization / Reconfigure Existing Classrooms |  |  |  |  | 9712000 |  |  | 9682000 |  | 11480000
2. Site Utilities |  |  |  |  | 829000 |  |  | 1473000 |  | 2933000
3. New Construction (Classrooms) |  |  |  |  | 12703000 |  |  | 29374000 |  | 3666000
4. Flex Labs, Science, VAPA, Theater & Elective Spaces |  |  |  |  | 692000 |  |  | 571000 |  | 11195000
5. Multipurpose Room (MPR) & Food Service |  |  |  |  | 9667000 |  |  | 11219000 |  | 5037000
6. Library |  |  |  |  | 681000 |  |  | 1773000 |  | 3079000
7. Student Support & Counseling |  |  |  |  | 1710000 |  |  | $ - |  | 824000
8. Administration and Staff Support |  |  |  |  | 954000 |  |  | 1550000 |  | 1356000
9. Physical Education Improvements |  |  |  |  | $ - |  |  | $ - |  | $ -
10. Safety and Security |  |  |  |  | 2379000 |  |  | 2534000 |  | 4113000
11. Outdoor Learning Environments & Quads |  |  |  |  | 913000 |  |  | 1422000 |  | 2748000
12. Exterior Play Spaces, Playfields & Hardcourts |  |  |  |  | 7264000 |  |  | 3581000 |  | 3288000
13. Next Generation Classroom Flexibility |  |  |  |  | 1555000 |  |  | 1037000 |  | 1430000
14. Technology Equipment |  |  |  |  | 729000 |  |  | 479000 |  | 667000
TOTAL PROJECT COST (2024$) |  |  |  |  | 49788000 |  |  | 64695000 |  | 51816000
San Marino Unified School District Facility Masterplan January 29, 2024
COMPREHENSIVE S
Program Scope |  |  |  |  | San Marino HS |  |  | TOTAL
1. Modernization / Reconfigure Existing Classrooms |  |  |  |  | 19551000 |  |  | 50425000
2. Site Utilities |  |  |  |  | 3024000 |  |  | 8259000
3. New Construction (Classrooms) |  |  |  |  | $ - |  |  | 45743000
4. Flex Labs, Science, VAPA, Theater & Elective Spaces |  |  |  |  | 42018000 |  |  | 54476000
5. Multipurpose Room (MPR) & Food Service |  |  |  |  | 3251000 |  |  | 29174000
6. Library |  |  |  |  | 1313000 |  |  | 6846000
7. Student Support & Counseling |  |  |  |  | $ - |  |  | 2534000
8. Administration and Staff Support |  |  |  |  | 1691000 |  |  | 5551000
9. Physical Education Improvements |  |  |  |  | 69034000 |  |  | 69034000
10. Safety and Security |  |  |  |  | 4734000 |  |  | 13760000
11. Outdoor Learning Environments & Quads |  |  |  |  | 1978000 |  |  | 7061000
12. Exterior Play Spaces, Playfields & Hardcourts |  |  |  |  | 21427000 |  |  | 35560000
13. Next Generation Classroom Flexibility |  |  |  |  | 2346000 |  |  | 6368000
14. Technology Equipment |  |  |  |  | 1125000 |  |  | 3000000
TOTAL PROJECT COST (2024$) |  |  |  |  | 171492000 |  |  | 337791000
San Marino Unified School District Facility Masterplan 1/29/24
Carver ES Cost Detail
| Area |  |  | Unit |  | Unit Cost |  | Construction Cost Sub- Total |  | Total Project Cost 25% (x 1.33)
1. Modernization / Reconfigure Existing Classrooms | [7 empty] | 7302000 |  | 9712000
Existing classrooms Walls Repair existing walls Windows Replace existing windows Doors Repair existing doors Floors Replace existing floors Ceilings Replace existing ceilings Exteriors Patch, repair and paint Roofing Replace roofing Restroom upgrades Modernization Building systems HVAC upgrades Plumbing upgrades EMS systems upgrades Lighting and controls upgrades Lighting and controls upgrades Low voltage upgrades Fire alarm system New fire alarm head end equipment, allowance PA / emergency communication systems Intrusion alarms AV system Upgrade backbone, wireless access points, and switches (direct cost) Upgrade fiber to support (direct cost) | 30,360 27,480 27,480 30,360 2,880 2,880 17,115 2,390 27,480 30,360 30,360 27,480 2,880 30,360 1 30,360 30,360 30,360 30,360 30,360 |  |  | sf sf sf sf sf sf sf sf sf sf sf sf sf sf ls sf sf sf sf sf |  | $ 9.52 $ 45.22 $ 7.14 $ 21.42 $ 41.65 $ 11.90 $ 41.65 $ 238.00 $ 17.85 $ 21.42 $ 9.52 $ 3.81 $ 38.08 $ 11.90 $ 35,700.00 $ 7.14 $ 3.57 $ 8.33 $ 14.28 $ 14.28 |  | $ 289,027 $ 1,243,000 $ 196,207 $ 651,000 $ 120,000 $ 34,272 $ 712,840 $ 568,820 $ 490,518 $ 650,311 $ 289,027 $ 104,644 $ 109,670 $ 361,284 $ 35,700 $ 216,770 $ 108,385 $ 252,899 $ 433,541 $ 433,541 |  | modulars
modulars
Bldg F
Moderate
Equipment only
includes drinking fountains
only exterior bldg lights
2. Site Utilities | [7 empty] | 623000 |  | 829000
Based on entire campus area, upgrade existing utilities; Sanitary sewer service Storm drain service | 435,600 435,600 |  |  | sf sf |  | $ 0.48 $ 0.95 |  | $ 208,000 $ 415,000
3. New Construction (Classrooms) | [7 empty] | 9551000 |  | 12703000
Preschool, TK and Kindergarten Remove portable classrooms | 3 |  |  | ea |  | 17850 |  | 53550
Classrooms, one story building |  | 12569 |  | sf |  | 595 |  | 7478258
Site improvements surrounding building pad |  | 12569 |  | sf |  | 49.98 |  | 628174
Elementary school
Remove portable classrooms |  | 2 |  | ea |  | 17850 |  | 36000
Classrooms, one story building |  | 2554 |  | sf |  | 480.46 |  | 1227000 |  | modular
Site improvements surrounding building pad |  | 2554 |  | sf |  | 49.98 |  | 128000
4. Flex Labs, Science, VAPA, Theater & Elective Spaces | [7 empty] | 520000 |  | 692000
Elementary Flex Labs, Science and Art Labs Minor modernization |  | 3635 |  | sf |  | 142.8 |  | 519078
5. Multipurpose Room (MPR) & Food Service | [7 empty] | 7268000 |  | 9667000
Demolish lunch shelter |  | 5850 |  | sf |  | 14.88 |  | 87019
Multipurpose Rooms
Minor modernization |  | 4400 |  | sf |  | 220.15 |  | 969000 |  | New AV / lighting
Food Service
Reconfigure |  | 5000 |  | sf |  | 654.5 |  | 3273000
Food service, one story building |  | 1310 |  | sf |  | 981.75 |  | 1286000
Site improvements surrounding building pad |  | 1310 |  | sf |  | 49.98 |  | 66000
New lunch shelter |  | 7200 |  | sf |  | 220.15 |  | 1586000
6. Library | [7 empty] | 512000 |  | 681000
Elementary School Library and Innovation Lab
Minor modernization |  | 3100 |  | sf |  | 165.11 |  | 511849 |  | low voltage, fire alarm, floorin
7. Student Support & Counseling | [7 empty] | 1285000 |  | 1710000
Learning Center
Classrooms, one story building |  | 1756 |  | sf |  | 565.25 |  | 992353 |  | Admin expansion
Site improvements surrounding building pad |  | 1756 |  | sf |  | 49.98 |  | 87745
Wellness Center
Classrooms, one story building |  | 333 |  | sf |  | 565.25 |  | 187946 |  | Admin expansion
Site improvements surrounding building pad |  | 333 |  | sf |  | 49.98 |  | 16618
8. Administration and Staff Support | [7 empty] | 717000 |  | 954000
Administration Minor modernization Restroom upgrades Modernization |  | 3,500 385 |  | sf sf |  | $ 178.50 $ 238.00 |  | $ 624,750 $ 92,000
9. Physical Education Improvements | [7 empty] | $ - |  | $ -
No scope in this category
10. Safety and Security | [7 empty] | 1788000 |  | 2379000
Replace parking lot lights w/ LED |  | 40 |  | ea |  | 9000 |  | 360000
New drop-off area |  | 9200 |  | sf |  | 35.7 |  | 329000
New concrete pedestrian paving |  | 3700 |  | sf |  | 23.8 |  | 89000
Remove / replace retaining wall |  | 310 |  | lf |  | 400 |  | 124000
ADA path of travel upgrades |  | 1 |  | ls |  | 500000 |  | 500000
Rolling chain link gate |  | 1 |  | ea |  | 33915 |  | 34000
Decorative metal fencing and gates |  | 100 |  | lf |  | 351.05 |  | 36000
Rolling decorative metal gate |  | 1 |  | ea |  | 56525 |  | 57000
New exterior lighting for student safety |  | 1 |  | ls |  | 59500 |  | 60000
New safety locks to existing classroom doors |  | 41 |  | ea |  | 892.5 |  | 37000
New emergency signs and posts |  | 1 |  | ls |  | 23800 |  | 24000
Landscape buffer at existing fence |  | 400 |  | lf |  | 95 |  | 38000 |  | Along Huntington
Security cameras |  | 1 |  | ls |  | 100000 |  | 100000
11. Outdoor Learning Environments & Quads | [7 empty] | 686000 |  | 913000
Landscape enhancements |  | 6400 |  | sf |  | 14.88 |  | 95200 |  | at front
New learning courts |  | 18000 |  | sf |  | 32.73 |  | 590000 |  | enhancement
12. Exterior Play Spaces, Playfields & Hardcourts | [7 empty] | 5461000 |  | 7264000
Kindergarten Play Yard New rubber surfacing Play apparatus Shade structure Decorative metal fencing and gates Resurface and repair hardcourts Play yard TK Play Yard New rubber surfacing Play apparatus Shade structure Decorative metal fencing and gates New hardcourts Elementary play yard and hardcourts New rubber surfacing Play apparatus Shade structure Resurface and repair hardcourts New hardcourts New basketball courts and hoops New ball walls Repair playfields (sod) |  | 2400 |  | sf |  | 27.37 |  | 66000
|  | 2 |  | ea |  | 142800 |  | 286000
|  | 1200 |  | sf |  | 220.15 |  | 265000
|  | 145 |  | lf |  | 297.5 |  | 44000
|  |  |  | sf |  | 14.88 |  | $ -
|  | 12600 |  | sf |  | 23.8 |  | 299880
|  | 1200 |  | sf |  | 27.37 |  | 33000
|  | 1 |  | ea |  | 142800 |  | 143000
|  | 1200 |  | sf |  | 220.15 |  | 265000
|  | 300 |  | lf |  | 297.5 |  | 90000
|  | 8800 |  | sf |  | 23.8 |  | 209440
|  | 8500 |  | sf |  | 27.37 |  | 233000
|  | 3 |  | ea |  | 142800 |  | 429000
|  | 4500 |  | sf |  | 220.15 |  | 991000 |  | Solar
|  | 45000 |  | sf |  | 14.88 |  | 670000
|  | 45000 |  | sf |  | 23.8 |  | 1071000
|  | 4 |  | ea |  | 9520 |  | 39000
|  | 4 |  | ea |  | 23800 |  | 96000
|  | 55000 |  | sf |  | 4.17 |  | 230000
13. Next Generation Classroom Flexibility | [7 empty] | 1555000 |  | 1555000
Flexible furniture per classroom (direct cost) Flexible furniture per library (direct cost) Flexible furniture per MPR / cafeteria (direct cost) |  | 33 1 1 |  | ea ea ea |  | $ 41,650.00 $ 60,000.00 $ 60,000.00 |  | $ 1,375,000 $ 60,000 $ 60,000
Flexible furniture per outdoor lunch area (direct cost) |  | 1 |  | ea |  | 60000 |  | 60000
No scope in this category
14. Technology Equipment | [7 empty] | 729000 |  | 729000
Classroom technology package - smart boards, projector, project mounts, flat screen monitor, audio system, etc. (direct cost) |  | 35 |  | ea |  | 20825 |  | 729000
TOTAL PROJECT COSTS (2024$) | [7 empty] | 37995000 |  | 49788000
San Marino Unified School District Facility Masterplan 1/29/24
Valentine ES Cost Detail
| Area |  |  | Unit |  | Unit Cost |  | Construction Cost Sub- Total |  | Total Project Cost 25% (x 1.33)
1. Modernization / Reconfigure Existing Classrooms | [7 empty] | 7279000 |  | 9682000
Existing classrooms Structural upgrades Roof / wall connections Walls Replace existing walls Repair existing walls Windows Replace existing windows Doors Replace existing doors Repair existing doors Floors Replace existing floors Ceilings Replace existing ceilings Casework Replace casework Exteriors Patch, repair and paint Roofing Replace roofing Replace roofing Replace roofing Replace roofing Restroom upgrades Modernization Building systems HVAC upgrades Plumbing upgrades EMS systems upgrades Lighting and controls upgrades Lighting and controls upgrades Low voltage upgrades Fire alarm system New fire alarm head end equipment, allowance Emergency lighting PA / emergency communication systems Intrusion alarms AV system Upgrade backbone, wireless access points, and switches (direct cost) | 2,880 2,880 20,520 23,400 2,880 20,520 23,400 2,880 2,880 2,880 18,900 3,150 3,150 5,000 3,375 23,400 23,400 23,400 20,520 2,880 23,400 1 23,400 23,400 23,400 23,400 23,400 |  |  | sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf ls sf sf sf sf sf |  | $ 41.65 $ 35.70 $ 9.52 $ 45.22 $ 21.42 $ 7.14 $ 21.42 $ 41.65 $ 11.90 $ 11.90 $ 41.65 $ 41.65 $ 41.65 $ 41.65 $ 238.00 $ 17.85 $ 21.42 $ 9.52 $ 3.81 $ 38.08 $ 11.90 $ 35,700.00 $ 3.57 $ 7.14 $ 3.57 $ 8.33 $ 14.28 |  | $ 119,952 $ 103,000 $ 195,350 $ 1,059,000 $ 62,000 $ 146,513 $ 502,000 $ 120,000 $ 34,272 $ 34,272 $ 787,185 $ 131,198 $ 131,198 $ 208,250 $ 803,250 $ 417,690 $ 501,228 $ 222,768 $ 78,140 $ 109,670 $ 278,460 $ 35,700 $ 83,538 $ 167,076 $ 83,538 $ 194,922 $ 334,152 |  | TK
TK
Bldg J
Covered walkway
Bldg D2
Bldg F2
Equipment only
only exterior bldg lights
Upgrade fiber to support (direct cost) |  | 23400 |  | sf |  | 14.28 |  | 334152
2. Site Utilities | [7 empty] | 1107000 |  | 1473000
Based on entire campus area, upgrade existing utilities; Sanitary sewer service Electrical mains and distribution Storm drain service Electrical capacity upgrades |  | 339,768 339,768 339,768 1 |  | sf sf sf ls |  | $ 0.48 $ 0.84 $ 0.71 $ 416,500.00 |  | $ 162,000 $ 285,000 $ 243,000 $ 417,000
3. New Construction (Classrooms) | [7 empty] | 22085000 |  | 29374000
Preschool, TK and Kindergarten
Demolish existing buildings |  | 1300 |  | sf |  | 29.75 |  | 38675
Classrooms, one story building |  | 10773 |  | sf |  | 595 |  | 6409935
Site improvements surrounding building pad |  | 10773 |  | sf |  | 49.98 |  | 538435
Elementary school
Remove portable classrooms |  | 7 |  | ea |  | 17850 |  | 125000
Classrooms, two story building |  | 20760 |  | sf |  | 696.15 |  | 14453000 |  | New 2-story CR Bldg including
Site improvements surrounding building pad |  | 10380 |  | sf |  | 49.98 |  | 519000
4. Flex Labs, Science, VAPA, Theater & Elective Spaces | [7 empty] | 429000 |  | 571000
Elementary Flex Labs, Science and Art Labs Reconfigure |  | 1200 |  | sf |  | 357 |  | 428400 |  | STEM lab
5. Multipurpose Room (MPR) & Food Service | [7 empty] | 8435000 |  | 11219000
Demolish lunch shelter |  | 2400 |  | sf |  | 14.88 |  | 35700
Multipurpose Rooms
MPR, one story building |  | 5772 |  | sf |  | 714 |  | 4122000
Site improvements surrounding building pad |  | 5772 |  | sf |  | 49.98 |  | 289000
Food Service
Food service, one story building |  | 2276 |  | sf |  | 1309 |  | 2979000
Site improvements surrounding building pad |  | 2276 |  | sf |  | 49.98 |  | 114000
New trash enclosure |  | 1 |  | ea |  | 101150 |  | 102000
New lunch shelter |  | 3600 |  | sf |  | 220.15 |  | 793000
6. Library | [7 empty] | 1333000 |  | 1773000
Elementary School Library and Innovation Lab Reconfigure |  | 2800 |  | sf |  | 476 |  | 1332800
7. Student Support & Counseling | [7 empty] | $ - |  | $ -
No scope in this category
8. Administration and Staff Support | [7 empty] | 1165000 |  | 1550000
Administration Minor modernization Reconfigure |  | 4,160 945 |  | sf sf |  | $ 178.50 $ 446.25 |  | $ 742,560 $ 421,706
9. Physical Education Improvements | [7 empty] | $ - |  | $ -
No scope in this category
10. Safety and Security | [7 empty] | 1905000 |  | 2534000
Replace parking lot lights w/ LED |  | 12 |  | ea |  | 9000 |  | 108000
New parking lot |  | 4600 |  | sf |  | 33.32 |  | 154000
New drop-off area |  | 15360 |  | sf |  | 35.7 |  | 549000
New concrete pedestrian paving |  | 2400 |  | sf |  | 23.8 |  | 58000
ADA path of travel upgrades |  | 1 |  | ls |  | 500000 |  | 500000
Perimeter CMU wall |  | 165 |  | lf |  | 350 |  | 58000
Rolling chain link gate |  | 1 |  | ea |  | 33915 |  | 34000
Decorative metal fencing and gates |  | 560 |  | lf |  | 351.05 |  | 197000
New exterior lighting for student safety |  | 1 |  | ls |  | 59500 |  | 60000
New safety locks to existing classroom doors |  | 27 |  | ea |  | 892.5 |  | 25000
New emergency signs and posts |  | 1 |  | ls |  | 23800 |  | 24000
Shade sails |  | 500 |  | sf |  | 75 |  | 37500
Security cameras |  | 1 |  | ls |  | 100000 |  | 100000
11. Outdoor Learning Environments & Quads | [7 empty] | 1069000 |  | 1422000
Landscape enhancements |  | 14300 |  | sf |  | 12 |  | 171600
New learning courts |  | 6200 |  | sf |  | 65.45 |  | 406000
Enhance learning courts |  | 15000 |  | sf |  | 32.73 |  | 490875
12. Exterior Play Spaces, Playfields & Hardcourts | [7 empty] | 2692000 |  | 3581000
TK / Kindergarten Play Yard
New rubber surfacing |  | 1200 |  | sf |  | 27.37 |  | 33000
Play apparatus |  | 1 |  | ea |  | 142800 |  | 143000
Shade structure |  | 1200 |  | sf |  | 220.15 |  | 265000
Decorative metal fencing and gates |  | 210 |  | lf |  | 297.5 |  | 63000
Enhance existing yard |  | 23800 |  | sf |  | 11.9 |  | 283220
Elementary play yard and hardcourts
New rubber surfacing |  | 12500 |  | sf |  | 27.37 |  | 343000
Play apparatus |  | 3 |  | ea |  | 142800 |  | 429000
Resurface and repair hardcourts |  | 57000 |  | sf |  | 14.88 |  | 848000
Repair playfields (sod) |  | 68000 |  | sf |  | 4.17 |  | 284000
13. Next Generation Classroom Flexibility | [7 empty] | 1037000 |  | 1037000
Flexible furniture per classroom (direct cost) |  | 22 |  | ea |  | 41650 |  | 917000
Flexible furniture per library (direct cost) |  | 1 |  | ea |  | 60000 |  | 60000
Flexible furniture per outdoor lunch area (direct cost) |  | 1 |  | ea |  | 60000 |  | 60000
14. Technology Equipment | [7 empty] | 479000 |  | 479000
Classroom technology package - smart boards, projector, project mounts, flat screen monitor, audio system, etc. (direct cost) |  | 23 |  | ea |  | 20825 |  | 479000
TOTAL PROJECT COSTS (2024$) | [7 empty] | 49013000 |  | 64695000
San Marino Unified School District Facility Masterplan 1/29/24
Huntington MS Cost Detail
| Area |  |  | Unit |  | Unit Cost |  | Construction Cost Sub- Total |  | Total Project Cost 25% (x 1.33)
1. Modernization / Reconfigure Existing Classrooms | [7 empty] | 8631000 |  | 11480000
Existing classrooms Structural upgrades Roof / wall connections Walls Replace existing walls Repair existing walls Windows Replace existing windows Doors Repair existing doors Floors Replace existing floors Ceilings Replace existing ceilings Casework Replace casework Exteriors Patch, repair and paint Roofing Replace roofing Replace roofing Replace roofing Replace roofing Replace roofing Restroom upgrades Modernization Reconfigure Building systems HVAC upgrades Plumbing upgrades EMS systems upgrades Lighting and controls upgrades Lighting and controls upgrades Low voltage upgrades Fire alarm system New fire alarm head end equipment, allowance PA / emergency communication systems Intrusion alarms AV system Upgrade backbone, wireless access points, and switches (direct cost) | 960 960 20,305 21,265 21,265 21,265 960 960 960 14,000 8,200 8,700 3,500 4,200 4,060 2,385 21,265 21,265 21,265 960 20,305 21,265 1 21,265 21,265 21,265 21,265 |  |  | sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf ls sf sf sf sf |  | $ 41.65 $ 35.70 $ 9.52 $ 45.22 $ 7.14 $ 21.42 $ 41.65 $ 11.90 $ 11.90 $ 41.65 $ 41.65 $ 41.65 $ 41.65 $ 41.65 $ 238.00 $ 714.00 $ 17.85 $ 21.42 $ 9.52 $ 38.08 $ 3.81 $ 11.90 $ 35,700.00 $ 7.14 $ 3.57 $ 8.33 $ 14.28 |  | $ 39,984 $ 35,000 $ 193,304 $ 962,000 $ 151,832 $ 456,000 $ 40,000 $ 11,424 $ 11,424 $ 583,100 $ 341,530 $ 362,355 $ 145,775 $ 174,930 $ 966,280 $ 1,702,890 $ 379,580 $ 455,496 $ 202,443 $ 36,557 $ 77,321 $ 253,054 $ 35,700 $ 151,832 $ 75,916 $ 177,137 $ 303,664 |  | OT
Bldg B1, B2, C1 and C2
Bldg F1
Bldg J
Bldg F2
Bldg H2
Equipment only
only exterior bldg lights
Upgrade fiber to support (direct cost) |  | 21265 |  | sf |  | 14.28 |  | 303664
2. Site Utilities | [7 empty] | 2205000 |  | 2933000
Based on entire campus area, upgrade existing utilities;
Natural gas service |  | 631620 |  | sf |  | 0.12 |  | 76000
Sanitary sewer service |  | 631620 |  | sf |  | 0.38 |  | 241000
Domestic and fire water service |  | 631620 |  | sf |  | 0.42 |  | 264000
Electrical mains and distribution |  | 631620 |  | sf |  | 1.2 |  | 756000
Storm drain service |  | 631620 |  | sf |  | 0.71 |  | 451000
Electrical capacity upgrades |  | 1 |  | ls |  | 416500 |  | 417000
3. New Construction (Classrooms) | [7 empty] | 2756000 |  | 3666000
Middle school
Remove portable classrooms |  | 4 |  | ea |  | 17850 |  | 71400
Classrooms, one story building |  | 4362 |  | sf |  | 565.25 |  | 2465847
Site improvements surrounding building pad |  | 4362 |  | sf |  | 49.98 |  | 218033
4. Flex Labs, Science, VAPA, Theater & Elective Spaces | [7 empty] | 8417000 |  | 11195000
Middle School Science and Art Labs Minor modernization Reconfigure Lab classrooms, one story building Site improvements surrounding building pad Music Lab classroom Minor modernization Lab classrooms, one story building Site improvements surrounding building pad Auditorium Moderate modernization Seismic retrofit |  | 8755 |  | sf |  | 142.8 |  | 1250214
|  | 2990 |  | sf |  | 357 |  | 1067430
|  | 1596 |  | sf |  | 636.65 |  | 1016093
|  | 1596 |  | sf |  | 49.98 |  | 79768
|  | 4070 |  | sf |  | 142.8 |  | 581196
|  | 532 |  | sf |  | 636.65 |  | 338698
|  | 532 |  | sf |  | 49.98 |  | 26589
|  | 5020 |  | sf |  | 458.15 |  | 2299913 |  | AB300
|  | 5020 |  | sf |  | 350 |  | 1757000 |  | AB300
5. Multipurpose Room (MPR) & Food Service | [7 empty] | 3787000 |  | 5037000
Multipurpose Rooms Moderate modernization Food Service Moderate modernization Seismic retrofit Food service, one story building Site improvements surrounding building pad New lunch shelter |  | 3960 |  | sf |  | 333.2 |  | 1320000
|  | 2565 |  | sf |  | 386.75 |  | 993000 |  | AB300
|  | 2565 |  | sf |  | 250 |  | 641250 |  | AB300
|  | 222 |  | sf |  | 1309 |  | 291000
|  | 222 |  | sf |  | 49.98 |  | 12000
|  | 2400 |  | sf |  | 220.15 |  | 529000
6. Library | [7 empty] | 2315000 |  | 3079000
Middle School and High School Library and Innovation Lab
Reconfigure |  | 2300 |  | sf |  | 476 |  | 1094800
Lab classrooms, one story building |  | 1596 |  | sf |  | 714 |  | 1139544
Site improvements surrounding building pad |  | 1596 |  | sf |  | 49.98 |  | 79768
7. Student Support & Counseling | [7 empty] | 619000 |  | 824000
Learning Center
Minor modernization Reconfigure Wellness Center Minor modernization |  | 340 970 860 |  | sf sf sf |  | $ 178.50 $ 416.50 $ 178.50 |  | $ 60,690 $ 404,005 $ 153,510
8. Administration and Staff Support | [7 empty] | 1019000 |  | 1356000
Administration Minor modernization Staff work rooms Reconfigure |  | 3,680 810 |  | sf sf |  | $ 178.50 $ 446.25 |  | $ 656,880 $ 361,463
9. Physical Education Improvements | [7 empty] | $ - |  | $ -
No scope in this category
10. Safety and Security | [7 empty] | 3092000 |  | 4113000
Replace parking lot lights w/ LED |  | 12 |  | ea |  | 9000 |  | 108000
Shade structure |  | 9600 |  | sf |  | 220.15 |  | 2114000 |  | Solar in parking
New drop-off area |  | 240 |  | sf |  | 35.7 |  | 9000
New concrete pedestrian paving |  | 100 |  | sf |  | 23.8 |  | 3000
ADA path of travel upgrades |  | 1 |  | ls |  | 500000 |  | 500000
New exterior lighting for student safety |  | 1 |  | ls |  | 89250 |  | 90000
New safety locks to existing classroom doors |  | 51 |  | ea |  | 892.5 |  | 46000
New emergency signs and posts |  | 1 |  | ls |  | 47600 |  | 48000
Perimeter CMU wall |  | 210 |  | lf |  | 350 |  | 74000
Security cameras |  | 1 |  | ls |  | 100000 |  | 100000
11. Outdoor Learning Environments & Quads | [7 empty] | 2066000 |  | 2748000
New learning courts |  | 18200 |  | sf |  | 32.73 |  | 596000 |  | enhancements
New student amphitheater |  | 13000 |  | sf |  | 113.05 |  | 1469650
12. Exterior Play Spaces, Playfields & Hardcourts | [7 empty] | 2472000 |  | 3288000
Middle School Play Yard
Shade structure |  | 4500 |  | sf |  | 220.15 |  | 991000 |  | Solar
Resurface and repair hardcourts |  | 53000 |  | sf |  | 14.88 |  | 789000
Repair playfields (sod) |  | 166000 |  | sf |  | 4.17 |  | 692000
13. Next Generation Classroom Flexibility | [7 empty] | 1430000 |  | 1430000
Flexible furniture per classroom (direct cost) |  | 30 |  | ea |  | 41650 |  | 1250000
Flexible furniture per library (direct cost) |  | 1 |  | ea |  | 60000 |  | 60000
Flexible furniture per MPR / cafeteria (direct cost) |  | 1 |  | ea |  | 60000 |  | 60000
Flexible furniture per outdoor lunch area (direct cost) |  | 1 |  | ea |  | 60000 |  | 60000
14. Technology Equipment | [7 empty] | 667000 |  | 667000
Classroom technology package - smart boards, projector, project mounts, flat screen monitor, audio system, etc. (direct cost) |  | 32 |  | ea |  | 20825 |  | 667000
TOTAL PROJECT COSTS (2024$) | [7 empty] | 39474000 |  | 51816000
San Marino Unified School District Facility Masterplan 1/29/24
San Marino HS Cost Detail
| Area |  |  | Unit |  | Unit Cost |  | Construction Cost Sub- Total |  | Total Project Cost 25% (x 1.33)
1. Modernization / Reconfigure Existing Classrooms | [7 empty] | 14700000 |  | 19551000
Existing classrooms Structural upgrades Roof / wall connections Walls Replace existing walls Repair existing walls Floors Replace existing floors Ceilings Replace existing ceilings Casework Replace casework Exteriors Patch, repair and paint Roofing Replace roofing Replace roofing Replace roofing Restroom upgrades Modernization Building systems HVAC upgrades Plumbing upgrades EMS systems upgrades Lighting and controls upgrades Low voltage upgrades Fire alarm system New fire alarm head end equipment, allowance PA / emergency communication systems Intrusion alarms AV system Upgrade backbone, wireless access points, and switches (direct cost) Upgrade fiber to support (direct cost) | 1,320 1,320 59,475 7,140 7,140 7,140 150,194 34,650 30,000 13,000 5,950 59,475 59,475 59,475 59,475 59,475 1 59,475 59,475 59,475 59,475 59,475 |  |  | sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf ls sf sf sf sf sf |  | $ 41.65 $ 35.70 $ 9.52 $ 21.42 $ 41.65 $ 11.90 $ 11.90 $ 41.65 $ 41.65 $ 41.65 $ 238.00 $ 23.80 $ 21.42 $ 9.52 $ 3.81 $ 11.90 $ 35,700.00 $ 7.14 $ 3.57 $ 8.33 $ 14.28 $ 14.28 |  | $ 54,978 $ 48,000 $ 566,202 $ 153,000 $ 298,000 $ 84,966 $ 1,787,309 $ 1,443,173 $ 1,249,500 $ 541,450 $ 1,416,100 $ 1,415,505 $ 1,273,955 $ 566,202 $ 226,481 $ 707,753 $ 35,700 $ 424,652 $ 212,326 $ 495,427 $ 849,303 $ 849,303 |  | Bldg. V, F and P
Bldg. S
Bldg. I
Equipment only
only exterior bldg lights
2. Site Utilities | [7 empty] | 2273000 |  | 3024000
Based on entire campus area, upgrade existing utilities; Natural gas service Sanitary sewer service Domestic and fire water service Electrical mains and distribution | 1,080,288 1,080,288 1,080,288 1,080,288 |  |  | sf sf sf sf |  | $ 0.12 $ 0.29 $ 0.36 $ 0.60 |  | $ 129,000 $ 309,000 $ 386,000 $ 646,000
Storm drain service Electrical capacity upgrades |  | 1,080,288 1 |  | sf ls |  | $ 0.36 $ 416,500.00 |  | $ 386,000 $ 417,000
3. New Construction (Classrooms) | [7 empty] | $ - |  | $ -
No scope in this category
4. Flex Labs, Science, VAPA, Theater & Elective Spaces | [7 empty] | 31592000 |  | 42018000
High School Science and Art Labs Minor modernization Moderate modernization Seismic retrofit Reconfigure Seismic retrofit Dance and Drama Classrooms Moderate modernization Seismic retrofit Reconfigure Seismic retrofit Classrooms, one story building Site improvements surrounding building pad Music Lab classroom Moderate modernization Seismic retrofit Theatre Moderate modernization Seismic retrofit |  | 14,200 6,034 6,034 10,860 10,860 7,970 7,970 3,250 3,250 4,628 4,628 6,475 6,475 13,700 13,700 |  | sf sf sf sf sf sf sf sf sf sf sf sf sf sf sf |  | $ 142.80 $ 214.20 $ 200.00 $ 357.00 $ 200.00 $ 166.60 $ 200.00 $ 333.20 $ 200.00 $ 636.65 $ 49.98 $ 214.20 $ 200.00 $ 416.50 $ 350.00 |  | $ 2,027,760 $ 1,292,483 $ 1,206,800 $ 3,877,020 $ 2,172,000 $ 1,327,802 $ 1,594,000 $ 1,082,900 $ 650,000 $ 2,946,671 $ 231,327 $ 1,386,945 $ 1,295,000 $ 5,706,050 $ 4,795,000 |  | bldg. g
AB300
AB300
AB300
set construction
AB300
AB300
Auditorium
AB300
5. Multipurpose Room (MPR) & Food Service | [7 empty] | 2444000 |  | 3251000
Multipurpose Rooms Moderate modernization Food Service Moderate modernization |  | 3,500 3,300 |  | sf sf |  | $ 333.20 $ 386.75 |  | $ 1,167,000 $ 1,277,000
6. Library | [7 empty] | 987000 |  | 1313000
Middle School and High School Library and Innovation Lab Moderate modernization |  | 2960 |  | sf |  | 333.2 |  | 986272
7. Student Support & Counseling | [7 empty] | $ - |  | $ -
No scope in this category
8. Administration and Staff Support | [7 empty] | 1271000 |  | 1691000
Administration Minor modernization |  | 7120 |  | sf |  | 178.5 |  | 1270920
9. Physical Education Improvements | [7 empty] | 51905000 |  | 69034000
Demolish existing buildings Gymnasium Gymnasium, two story building Site improvements surrounding building pad |  | 29,465 35,910 17,955 |  | sf sf sf |  | $ 29.75 $ 999.60 $ 49.98 |  | $ 876,584 $ 35,895,636 $ 897,391 |  | includes locker rooms, weight
Aquatics building, one-story |  | 5839 |  | sf |  | 1150 |  | 6714505
Site improvements surrounding building pad |  | 5839 |  | sf |  | 49.98 |  | 291818
Aquatics complex (33M pool) with bleachers and shade |  | 1 |  | ls |  | 6500000 |  | 6500000
Athletics plaza |  | 13500 |  | sf |  | 54 |  | 729000
10. Safety and Security | [7 empty] | 3559000 |  | 4734000
Resurface and repair existing parking lot |  | 154500 |  | sf |  | 11.9 |  | 1839000
New parking lot |  | 20000 |  | sf |  | 33.32 |  | 667000
New concrete pedestrian paving |  | 1500 |  | sf |  | 23.8 |  | 36000
ADA path of travel upgrades |  | 1 |  | ls |  | 500000 |  | 500000
Decorative metal fencing and gates |  | 195 |  | lf |  | 351.05 |  | 69000
Rolling decorative metal gate |  | 3 |  | ea |  | 56525 |  | 170000
New exterior lighting for student safety |  | 1 |  | ls |  | 119000 |  | 119000
New safety locks to existing classroom doors |  | 70 |  | ea |  | 892.5 |  | 63000
New emergency signs and posts |  | 1 |  | ls |  | 95200 |  | 96000
11. Outdoor Learning Environments & Quads | [7 empty] | 1487000 |  | 1978000
New student quad |  | 30000 |  | sf |  | 44.63 |  | 1339000 |  | enhance
New learning courts |  | 4500 |  | sf |  | 32.73 |  | 148000 |  | enhance
12. Exterior Play Spaces, Playfields & Hardcourts | [7 empty] | 16110000 |  | 21427000
Play yard and hardcourts
Shade structure |  |  |  | sf |  | 220.15 |  | $ -
Resurface and repair hardcourts |  | 23000 |  | sf |  | 14.88 |  | 343000
Repair playfields (sod) |  | 95000 |  | sf |  | 4.17 |  | 396000
Baseball and softball fields
Repair natural turf |  | 114000 |  | sf |  | 6.55 |  | 746130
New field equipment including bases and mounds |  | 2 |  | ea |  | 35700 |  | 71400
New backstop |  | 2 |  | ea |  | 178500 |  | 357000
New field lighting |  | 8 |  | ea |  | 178500 |  | 1428000
Track, field and stadium
New synthetic turf, football field |  | 87000 |  | sf |  | 18.45 |  | 1604715 |  | just surfacing
New synthetic track |  | 58000 |  | sf |  | 21.42 |  | 1242360 |  | just surfacing
New shot put |  | 1 |  | ea |  | 148750 |  | 148750
New field lighting |  | 6 |  | ea |  | 178500 |  | 1071000
New bleachers |  | 2500 |  | seat |  | 892.5 |  | 2231250
New press box |  | 750 |  | sf |  | 618.8 |  | 464100
New scoreboard |  | 1 |  | ea |  | 166600 |  | 166600
New tennis court |  | 1 |  | ea |  | 404600
Tennis courts (existing), new fencing and lighting |  | 5 |  | ea |  | 141610 |  | 708050
Field House building, modernization |  | 1200 |  | sf |  | 270.73 |  | 324870
New Concessions / Restrooms / Team Room building, one- story |  | 4200 |  | sf |  | 1071 |  | 4498200
Storage building, minor scope |  | 2880 |  | sf |  | 107.1 |  | 308448
13. Next Generation Classroom Flexibility | [7 empty] | 2346000 |  | 2346000
Flexible furniture per classroom (direct cost) |  | 52 |  | ea |  | 41650 |  | 2166000
Flexible furniture per library (direct cost) |  | 1 |  | ea |  | 60000 |  | 60000
Flexible furniture per MPR / cafeteria (direct cost) 1 ea $ 60,000.00 $ 60,000 Flexible furniture per outdoor lunch area (direct cost) 1 ea $ 60,000.00 $ 60,000 No scope in this category
14. Technology Equipment $ 1,125,000 | [9 empty] | 1125000
Classroom technology package - smart boards, projector, project mounts, flat screen monitor, audio system, etc. (direct cost) 54 ea $ 20,825.00 $ 1,125,000
TOTAL PROJECT COSTS (2024$) $ 129,799,000 | [9 empty] | 171492000

## ProjList_Init
ID | Category | Site | Project Description | Const Cost | Total Cost (+33%) | Notes
C1 | Modernization / Reconfigure Existing Classrooms | Carver | Existing Classrooms | 2499234 | 3325000
C2 | Modernization / Reconfigure Existing Classrooms | Carver | Exteriors | 34272 | 46550
C3 | Modernization / Reconfigure Existing Classrooms | Carver | Roofing | 712840 | 948290 | one building
C4 | Modernization / Reconfigure Existing Classrooms | Carver | Restroom Upgrades | 568820 | 756770
C5 | Modernization / Reconfigure Existing Classrooms | Carver | Building Systems | 1644170 | 2187850
C6 | Modernization / Reconfigure Existing Classrooms | Carver | Low Voltage Upgrades | 975038 | 1298080
C7 | Modernization / Reconfigure Existing Classrooms | Carver | Upgrade Backbone, wireless access points, & switches (direct cost) | 433541 | 433541
C8 | Modernization / Reconfigure Existing Classrooms | Carver | Upgrade fiber optic connectivity (direct cost) | 433541 | 433541
C9 | Site Utilities | Carver | Sanitary & Storm drain upgrades | 623000 | 828590
C10 | New Construction (Classrooms) | Carver | Preschool, TK and Kindergarten | 8159982 | 10852800 | remove 3 portables; replace with permanent building(s)
C11 | New Construction (Classrooms) | Carver | Grades 1-5 | 1391000 | 1850030 | remove 2 portables; replace with modular building(s)
C12 | Flex Labs, Science, VAPA, Theater & Elective Spaces | Carver | Minor modernization to existing spaces | 519078 | 691600
C13 | Multipurpose Room (MPR) & Food Service | Carver | MPR minor modernization, new A/V & lighting | 969000 | 1288770
C14 | Multipurpose Room (MPR) & Food Service | Carver | Lunch court | 1673019 | 2226420
C15 | Multipurpose Room (MPR) & Food Service | Carver | Food service area reconfiguration & small add'l building | 4625000 | 6151250
C16 | Library | Carver | Minor modernization to existing spaces | 511849 | 680960
C17 | Student Support & Counseling | Carver | Learning center (moderate expansion of admin space) | 1080098 | 1437730
C18 | Student Support & Counseling | Carver | Wellness center (minor expansion of adminn space) | 204564 | 272650
C19 | Administration & Staff Support | Carver | Minor modernization to existing spaces | 624750 | 831250
C20 | Administration & Staff Support | Carver | Restroom Upgrades | 92000 | 122360
C21 | Safety and Security | Carver | Replace parking lot lights w/ LED | 360000 | 478800 | JMM: lights are relatively new and already LED
C22 | Safety and Security | Carver | New drop-off area | 329000 | 437570
C23 | Safety and Security | Carver | New concrete pedestrian paving | 89000 | 118370
C24 | Safety and Security | Carver | Remove / replace retaining wall | 124000 | 164920
C25 | Safety and Security | Carver | ADA path of travel upgrades | 500000 | 665000
C26 | Safety and Security | Carver | Rolling chain link gate | 34000 | 45220
C27 | Safety and Security | Carver | Decorative metal fencing and gates | 36000 | 47880
C28 | Safety and Security | Carver | Rolling decorative metal gate | 57000 | 75810
C29 | Safety and Security | Carver | New exterior lighting for student safety | 60000 | 79800
C30 | Safety and Security | Carver | New safety locks to existing classroom doors | 37000 | 49210
C31 | Safety and Security | Carver | New emergency signs and posts | 24000 | 31920
C32 | Safety and Security | Carver | Landscape buffer at existing fence | 38000 | 50540
C33 | Safety and Security | Carver | Security cameras | 100000 | 133000
C34 | Outdoor Learning Environments & Quads | Carver | Landscape enhancements | 95200 | 127680
C35 | Outdoor Learning Environments & Quads | Carver | New learning courts | 590000 | 784700
C36 | Exterior Play Spaces, Playfields & Hardcourts | Carver | Kindergarten play yard | 960880 | 1278130
C37 | Exterior Play Spaces, Playfields & Hardcourts | Carver | TK play yard | 740440 | 985530
C38 | Exterior Play Spaces, Playfields & Hardcourts | Carver | Grades 1-5 play yard & hardcourts | 3759000 | 4999470 | includes solar shade structure
C39 | Next Generation Classroom Flexibility | Carver | Flexible furniture - classrooms (direct cost) | 1375000 | 1375000
C40 | Next Generation Classroom Flexibility | Carver | Flexible furniture - library (direct cost) | 60000 | 60000
C41 | Next Generation Classroom Flexibility | Carver | Flexible furniture - MPR (direct cost) | 60000 | 60000
C42 | Next Generation Classroom Flexibility | Carver | Flexible furniture - lunch court (direct cost) | 60000 | 60000
C43 | Technology Equipment | Carver | Classroom tech - smart boards, projectors, audio, etc. (direct cost) | 729000 | 729000
V1 | Modernization / Reconfigure Existing Classrooms | Valentine | Existing Classrooms | 2342087 | 3116190
V2 | Modernization / Reconfigure Existing Classrooms | Valentine | Exteriors | 34272 | 46550
V3 | Modernization / Reconfigure Existing Classrooms | Valentine | Roofing | 1257831 | 1673140 | 3 buildings, 1 walkway
V4 | Modernization / Reconfigure Existing Classrooms | Valentine | Restroom Upgrades | 803250 | 1069320
V5 | Modernization / Reconfigure Existing Classrooms | Valentine | Building Systems | 1329496 | 1768900
V6 | Modernization / Reconfigure Existing Classrooms | Valentine | Low Voltage Upgrades | 843234 | 1122520
V7 | Modernization / Reconfigure Existing Classrooms | Valentine | Upgrade Backbone, wireless access points, & switches (direct cost) | 334152 | 334152
V8 | Modernization / Reconfigure Existing Classrooms | Valentine | Upgrade fiber optic connectivity (direct cost) | 334152 | 334152
V9 | Site Utilities | Valentine | Sanitary & Storm drain upgrades | 405000 | 538650
V10 | Site Utilities | Valentine | Electrical service upgrade & capacity expansion | 702000 | 933660
V11 | New Construction (Classrooms) | Valentine | Preschool, TK and Kindergarten | 6987045 | 9294040 | permanent building
V12 | New Construction (Classrooms) | Valentine | Grades 1-5 | 15097000 | 20079010 | 2-storey permanent building
V13 | Flex Labs, Science, VAPA, Theater & Elective Spaces | Valentine | Reconfiguration of existing STEM lab | 428400 | 570570
V14 | Multipurpose Room (MPR) & Food Service | Valentine | Lunch court | 828700 | 1102570
V15 | Multipurpose Room (MPR) & Food Service | Valentine | MPR, one storey building | 4411000 | 5866630
V16 | Multipurpose Room (MPR) & Food Service | Valentine | Food service building | 3195000 | 4249350
V17 | Library | Valentine | Reconfiguration of existing space as library | 1332800 | 1772890
V18 | Administration & Staff Support | Valentine | Minor modernization & reconfiguration of existing spaces | 1164266 | 1549450
V19 | Safety and Security | Valentine | Replace parking lot lights w/ LED | 108000 | 143640
V20 | Safety and Security | Valentine | New parking lot | 154000 | 204820
V21 | Safety and Security | Valentine | New drop-off area | 549000 | 730170
V22 | Safety and Security | Valentine | New concrete pedestrian paving | 58000 | 77140
V23 | Safety and Security | Valentine | ADA path of travel upgrades | 500000 | 665000
V24 | Safety and Security | Valentine | Perimeter CMU wall | 58000 | 77140
V25 | Safety and Security | Valentine | Rolling chain link gate | 34000 | 45220
V26 | Safety and Security | Valentine | Decorative metal fencing and gates | 197000 | 262010
V27 | Safety and Security | Valentine | New exterior lighting for student safety | 60000 | 79800
V28 | Safety and Security | Valentine | New safety locks to existing classroom doors | 25000 | 33250
V29 | Safety and Security | Valentine | New emergency signs and posts | 24000 | 31920
V30 | Safety and Security | Valentine | Shade sails | 37500 | 50540
V31 | Safety and Security | Valentine | Security cameras | 100000 | 133000
V32 | Outdoor Learning Environments & Quads | Valentine | Landscape enhancements | 171600 | 228760
V33 | Outdoor Learning Environments & Quads | Valentine | New learning courts | 406000 | 539980
V34 | Outdoor Learning Environments & Quads | Valentine | Enhance learning courts | 490875 | 653030
V35 | Exterior Play Spaces, Playfields & Hardcourts | Valentine | TK/Kindergarten play yard | 787220 | 1048040
V36 | Exterior Play Spaces, Playfields & Hardcourts | Valentine | Grades 1-5 play yard & hardcourts | 1904000 | 2532320
V37 | Next Generation Classroom Flexibility | Valentine | Flexible furniture - classrooms (direct cost) | 917000 | 917000
V38 | Next Generation Classroom Flexibility | Valentine | Flexible furniture - library (direct cost) | 60000 | 60000
V39 | Next Generation Classroom Flexibility | Valentine | Flexible furniture - lunch court (direct cost) | 60000 | 60000
V40 | Technology Equipment | Valentine | Classroom tech - smart boards, projectors, audio, etc. (direct cost) | 479000 | 479000
H1 | Modernization / Reconfigure Existing Classrooms | Huntington | Existing Classrooms | 1889544 | 2513700
H2 | Modernization / Reconfigure Existing Classrooms | Huntington | Exteriors | 11424 | 15960
H3 | Modernization / Reconfigure Existing Classrooms | Huntington | Roofing | 1607690 | 2138640 | 8 buildings
H4 | Modernization / Reconfigure Existing Classrooms | Huntington | Restroom Upgrades | 2669170 | 3551100
H5 | Modernization / Reconfigure Existing Classrooms | Huntington | Building Systems | 1151397 | 1532160
H6 | Modernization / Reconfigure Existing Classrooms | Huntington | Low Voltage Upgrades | 693639 | 923020
H7 | Modernization / Reconfigure Existing Classrooms | Huntington | Upgrade Backbone, wireless access points, & switches (direct cost) | 303664 | 303664
H8 | Modernization / Reconfigure Existing Classrooms | Huntington | Upgrade fiber optic connectivity (direct cost) | 303664 | 303664
H9 | Site Utilities | Huntington | Sanitary & Storm drain upgrades | 692000 | 920360
H10 | Site Utilities | Huntington | Electrical service upgrade & capacity expansion | 1173000 | 1560090
H11 | Site Utilities | Huntington | Natural gas | 76000 | 101080
H12 | Site Utilities | Huntington | Domestic plumbing & fire water | 264000 | 351120
H13 | New Construction (Classrooms) | Huntington | Classroom building to replace portables | 2756000 | 3665480 | permanent building
H14 | Flex Labs, Science, VAPA, Theater & Elective Spaces | Huntington | Science & Art Existing Labs minor modernization & reconfiguration | 2317644 | 3082940
H15 | Flex Labs, Science, VAPA, Theater & Elective Spaces | Huntington | Science & Art Existing Labs small additional building | 1095861 | 1457680
H16 | Flex Labs, Science, VAPA, Theater & Elective Spaces | Huntington | Existing Music Room minor modernization & reconfiguration | 581196 | 774060
H17 | Flex Labs, Science, VAPA, Theater & Elective Spaces | Huntington | Existing Music Room small additional building | 365287 | 486780
H18 | Flex Labs, Science, VAPA, Theater & Elective Spaces | Huntington | Auditorium moderate modernization | 4056913 | 5395810
H19 | Multipurpose Room (MPR) & Food Service | Huntington | MPR modernization | 1320000 | 1755600
H20 | Multipurpose Room (MPR) & Food Service | Huntington | Food service modernization | 1634250 | 2174550
H21 | Multipurpose Room (MPR) & Food Service | Huntington | Food service building addition | 303000 | 402990
H22 | Multipurpose Room (MPR) & Food Service | Huntington | Lunch court | 529000 | 703570
H23 | Library | Huntington | Library reconfiguration | 1094800 | 1456350
H24 | Library | Huntington | Library building addition | 1219312 | 1622600
H25 | Student Support & Counseling | Huntington | Existing learning center minor modernization & reconfiguration | 464695 | 618450
H26 | Student Support & Counseling | Huntington | Existing wellness center minor modernization | 153510 | 204820
H27 | Administration & Staff Support | Huntington | Minor modernization & reconfiguration of existing admin & work room spaces | 1019000 | 1355270
H28 | Safety and Security | Huntington | Replace parking lot lights w/ LED | 108000 | 143640
H29 | Safety and Security | Huntington | Shade structure | 2114000 | 2811620 | parking lot shade w/ PV solar
H30 | Safety and Security | Huntington | New drop-off area | 9000 | 11970
H31 | Safety and Security | Huntington | New concrete pedestrian paving | 3000 | 3990
H32 | Safety and Security | Huntington | ADA path of travel upgrades | 500000 | 665000
H33 | Safety and Security | Huntington | New exterior lighting for student safety | 90000 | 119700
H34 | Safety and Security | Huntington | New safety locks to existing classroom doors | 46000 | 61180
H35 | Safety and Security | Huntington | New emergency signs and posts | 48000 | 63840
H36 | Safety and Security | Huntington | Perimeter CMU wall | 74000 | 98420
H37 | Safety and Security | Huntington | Security cameras | 100000 | 133000
H38 | Outdoor Learning Environments & Quads | Huntington | New learning courts | 596000 | 792680
H39 | Outdoor Learning Environments & Quads | Huntington | New student amphitheater | 1469650 | 1955100
H40 | Exterior Play Spaces, Playfields & Hardcourts | Huntington | Shade structure | 991000 | 1318030 | w/ PV solar
H41 | Exterior Play Spaces, Playfields & Hardcourts | Huntington | Resurface and repair hardcourts | 789000 | 1049370
H42 | Exterior Play Spaces, Playfields & Hardcourts | Huntington | Repair playfields (sod) | 692000 | 920360
H43 | Next Generation Classroom Flexibility | Huntington | Flexible furniture per classroom (direct cost) | 1250000 | 1250000
H44 | Next Generation Classroom Flexibility | Huntington | Flexible furniture per library (direct cost) | 60000 | 60000
H45 | Next Generation Classroom Flexibility | Huntington | Flexible furniture per MPR / cafeteria (direct cost) | 60000 | 60000
H46 | Next Generation Classroom Flexibility | Huntington | Flexible furniture per outdoor lunch area (direct cost) | 60000 | 60000
H47 | Technology Equipment | Huntington | Classroom tech - smart boards, projectors, audio, etc. (direct cost) | 667000 | 667000
HS1 | Modernization / Reconfigure Existing Classrooms | SMHS | Existing Classrooms | 1205146 | 1603980
HS2 | Modernization / Reconfigure Existing Classrooms | SMHS | Exteriors | 1787309 | 2378040
HS3 | Modernization / Reconfigure Existing Classrooms | SMHS | Roofing | 3234173 | 4302550 | 5 buildings
HS4 | Modernization / Reconfigure Existing Classrooms | SMHS | Restroom Upgrades | 1416100 | 1884610
HS5 | Modernization / Reconfigure Existing Classrooms | SMHS | Building Systems | 3482143 | 4632390
HS6 | Modernization / Reconfigure Existing Classrooms | SMHS | Low Voltage Upgrades | 1875858 | 2495080
HS7 | Modernization / Reconfigure Existing Classrooms | SMHS | Upgrade Backbone, wireless access points, & switches (direct cost) | 849303 | 849303
HS8 | Modernization / Reconfigure Existing Classrooms | SMHS | Upgrade fiber optic connectivity (direct cost) | 849303 | 849303
HS9 | Site Utilities | SMHS | Sanitary & Storm drain upgrades | 695000 | 924350
HS10 | Site Utilities | SMHS | Electrical service upgrade & capacity expansion | 1063000 | 1413790
HS11 | Site Utilities | SMHS | Natural gas | 129000 | 171570
HS12 | Site Utilities | SMHS | Domestic plumbing & fire water | 386000 | 513380
HS13 | Flex Labs, Science, VAPA, Theater & Elective Spaces | SMHS | Science & Art Existing Labs moderate modernization & reconfiguration | 10576063 | 14067410
HS14 | Flex Labs, Science, VAPA, Theater & Elective Spaces | SMHS | Existing Music Room moderate modernization | 2681945 | 3567060
HS15 | Flex Labs, Science, VAPA, Theater & Elective Spaces | SMHS | Existing Dance & Drama rooms moderate modernization & reconfiguration | 4654702 | 6191150
HS16 | Flex Labs, Science, VAPA, Theater & Elective Spaces | SMHS | Existing Dance & Drama rooms additional building | 3177998 | 4226740
HS17 | Flex Labs, Science, VAPA, Theater & Elective Spaces | SMHS | Existing Auditorium moderate modernization | 10501050 | 13967660
HS18 | Multipurpose Room (MPR) & Food Service | SMHS | MPR modernization | 1167000 | 1552110
HS19 | Multipurpose Room (MPR) & Food Service | SMHS | Food service modernization | 1277000 | 1698410
HS20 | Library | SMHS | Existing Library Moderate modernization | 986272 | 1312710
HS21 | Administration & Staff Support | SMHS | Existing admin space minor modernization | 1270920 | 1690430
HS22 | Physical Education Improvements | SMHS | Gymnasiums replacement | 37669611 | 50101100
HS23 | Physical Education Improvements | SMHS | Aquatics complex building & pool | 14265323 | 18973780
HS24 | Safety and Security | SMHS | Resurface and repair existing parking lot | 1839000 | 2445870
HS25 | Safety and Security | SMHS | New parking lot | 667000 | 887110
HS26 | Safety and Security | SMHS | New concrete pedestrian paving | 36000 | 47880
HS27 | Safety and Security | SMHS | ADA path of travel upgrades | 500000 | 665000
HS28 | Safety and Security | SMHS | Decorative metal fencing and gates | 69000 | 91770
HS29 | Safety and Security | SMHS | Rolling decorative metal gate | 170000 | 226100
HS30 | Safety and Security | SMHS | New exterior lighting for student safety | 119000 | 158270
HS31 | Safety and Security | SMHS | New safety locks to existing classroom doors | 63000 | 83790
HS32 | Safety and Security | SMHS | New emergency signs and posts | 96000 | 127680
HS33 | Outdoor Learning Environments & Quads | SMHS | Enhancements to existing student quad | 1339000 | 1780870
HS34 | Outdoor Learning Environments & Quads | SMHS | Enhancements to existing learning courts | 148000 | 196840
HS35 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | Resurface hardcourts | 343000 | 456190
HS36 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | Repair playfields (sod) | 396000 | 526680
HS37 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | Baseball & Softball - turf repair, lighting, backstop, field eqpm | 2602530 | 3461990
HS38 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | Tennis court refurbishment | 708050 | 942970
HS39 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | Field house modernization | 324870 | 432250
HS40 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | New concessions, restroom, team room building | 4498200 | 5983670
HS41 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | Small storage building | 308448 | 410970
HS42 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | New tennis court | 404600 | 538650
HS43 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | New track surface & shotput area | 1391110 | 1851360
HS44 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | New football field surface | 1604715 | 2134650
HS45 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | New football bleachers, pressbox | 2695350 | 3585680
HS46 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | new football scoreboard | 166600 | 222110
HS47 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | new football lighting | 1071000 | 1424430
HS48 | Next Generation Classroom Flexibility | SMHS | Flexible furniture per classroom (direct cost) | 2166000 | 2166000
HS49 | Next Generation Classroom Flexibility | SMHS | Flexible furniture per library (direct cost) | 60000 | 60000
HS50 | Next Generation Classroom Flexibility | SMHS | Flexible furniture - MPR (direct cost) | 60000 | 60000
HS51 | Next Generation Classroom Flexibility | SMHS | Flexible furniture - cafeteria (direct cost) | 60000 | 60000
HS52 | Technology Equipment | SMHS | Classroom tech - smart boards, projectors, audio, etc. (direct cost) | 1125000 | 1125000

## ProjList_Mod
ID | Category | Site | Project Description | Const Cost | Total Cost (+33%) | Priority | Notes
HS40 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | New concessions, restroom, team room building | 4498200 | 5983670 | High
C38 | Exterior Play Spaces, Playfields & Hardcourts | Carver | Grades 1-5 play yard & hardcourts | 3600000 | 4788000 | High | includes solar shade structure; cut down a few play structures
HS37 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | Baseball & Softball - turf repair, lighting, backstop, field eqpm | 2602530 | 3461990 | High
V36 | Exterior Play Spaces, Playfields & Hardcourts | Valentine | Grades 1-5 play yard & hardcourts | 1800000 | 2394000 | High | cut down a few play structures
HS44 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | New football field surface | 1604715 | 2134650 | High
HS43 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | New track surface & shotput area | 1391110 | 1851360 | High
C36 | Exterior Play Spaces, Playfields & Hardcourts | Carver | Kindergarten play yard | 800000 | 1064000 | High | cut down a few play structures
HS38 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | Tennis court refurbishment | 708050 | 942970 | High
C37 | Exterior Play Spaces, Playfields & Hardcourts | Carver | TK play yard | 650000 | 864500 | High | cut down a few play structures
V35 | Exterior Play Spaces, Playfields & Hardcourts | Valentine | TK/Kindergarten play yard | 650000 | 864500 | High | cut down a few play structures
HS42 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | New tennis court | 404600 | 538650 | High
V17 | Library | Valentine | Reconfiguration of existing space as library | 1332800 | 1772890 | High
H4 | Modernization / Reconfigure Existing Classrooms | Huntington | Restroom Upgrades | 2669170 | 3551100 | High
HS5 | Modernization / Reconfigure Existing Classrooms | SMHS | Building Systems | 1740000 | 2314200 | High | cut in half
C5 | Modernization / Reconfigure Existing Classrooms | Carver | Building Systems | 1644170 | 2187850 | High
H3 | Modernization / Reconfigure Existing Classrooms | Huntington | Roofing | 1607690 | 2138640 | High | 8 buildings
HS3 | Modernization / Reconfigure Existing Classrooms | SMHS | Roofing | 1600000 | 2128000 | High | cut in half
V5 | Modernization / Reconfigure Existing Classrooms | Valentine | Building Systems | 1329496 | 1768900 | High
V3 | Modernization / Reconfigure Existing Classrooms | Valentine | Roofing | 1257831 | 1673140 | High | 3 buildings, 1 walkway
H5 | Modernization / Reconfigure Existing Classrooms | Huntington | Building Systems | 1151397 | 1532160 | High
C1 | Modernization / Reconfigure Existing Classrooms | Carver | Existing Classrooms | 1000000 | 1330000 | High | cut down
H1 | Modernization / Reconfigure Existing Classrooms | Huntington | Existing Classrooms | 1000000 | 1330000 | High | cut down
V1 | Modernization / Reconfigure Existing Classrooms | Valentine | Existing Classrooms | 1000000 | 1330000 | High | cut down
C6 | Modernization / Reconfigure Existing Classrooms | Carver | Low Voltage Upgrades | 975038 | 1298080 | High
HS6 | Modernization / Reconfigure Existing Classrooms | SMHS | Low Voltage Upgrades | 930000 | 1236900 | High | cut in half
HS2 | Modernization / Reconfigure Existing Classrooms | SMHS | Exteriors | 890000 | 1183700 | High | cut in half
V6 | Modernization / Reconfigure Existing Classrooms | Valentine | Low Voltage Upgrades | 843234 | 1122520 | High
V4 | Modernization / Reconfigure Existing Classrooms | Valentine | Restroom Upgrades | 803250 | 1069320 | High | More detail?
C3 | Modernization / Reconfigure Existing Classrooms | Carver | Roofing | 712840 | 948290 | High | one building
HS4 | Modernization / Reconfigure Existing Classrooms | SMHS | Restroom Upgrades | 700000 | 931000 | High | cut in half
H6 | Modernization / Reconfigure Existing Classrooms | Huntington | Low Voltage Upgrades | 693639 | 923020 | High
H26 | Student Support & Counseling | Huntington | Existing wellness center minor modernization | 153510 | 204820 | Medium
HS1 | Modernization / Reconfigure Existing Classrooms | SMHS | Existing Classrooms | 600000 | 798000 | High | cut in half
C4 | Modernization / Reconfigure Existing Classrooms | Carver | Restroom Upgrades | 568820 | 756770 | High | More detail?
C7 | Modernization / Reconfigure Existing Classrooms | Carver | Upgrade Backbone, wireless access points, & switches (direct cost) | 433541 | 433541 | High
C8 | Modernization / Reconfigure Existing Classrooms | Carver | Upgrade fiber optic connectivity (direct cost) | 433541 | 433541 | High
HS7 | Modernization / Reconfigure Existing Classrooms | SMHS | Upgrade Backbone, wireless access points, & switches (direct cost) | 425000 | 425000 | High | cut in half
HS8 | Modernization / Reconfigure Existing Classrooms | SMHS | Upgrade fiber optic connectivity (direct cost) | 425000 | 425000 | High | cut in half
V7 | Modernization / Reconfigure Existing Classrooms | Valentine | Upgrade Backbone, wireless access points, & switches (direct cost) | 334152 | 334152 | High
V8 | Modernization / Reconfigure Existing Classrooms | Valentine | Upgrade fiber optic connectivity (direct cost) | 334152 | 334152 | High
H7 | Modernization / Reconfigure Existing Classrooms | Huntington | Upgrade Backbone, wireless access points, & switches (direct cost) | 303664 | 303664 | High
H8 | Modernization / Reconfigure Existing Classrooms | Huntington | Upgrade fiber optic connectivity (direct cost) | 303664 | 303664 | High
C2 | Modernization / Reconfigure Existing Classrooms | Carver | Exteriors | 34272 | 46550 | High
V2 | Modernization / Reconfigure Existing Classrooms | Valentine | Exteriors | 34272 | 46550 | High
H2 | Modernization / Reconfigure Existing Classrooms | Huntington | Exteriors | 11424 | 15960 | High
V15 | Multipurpose Room (MPR) & Food Service | Valentine | MPR, one storey building | 4411000 | 5866630 | High
V16 | Multipurpose Room (MPR) & Food Service | Valentine | Food service building | 3195000 | 4249350 | High
V14 | Multipurpose Room (MPR) & Food Service | Valentine | Lunch court | 828700 | 1102570 | High
V12 | New Construction (Classrooms) | Valentine | Grades 1-5 | 15097000 | 20079010 | High | 2-storey permanent building
C10 | New Construction (Classrooms) | Carver | Preschool, TK and Kindergarten | 8159982 | 10852800 | High | remove 3 portables; replace with permanent building(s)
V11 | New Construction (Classrooms) | Valentine | Preschool, TK and Kindergarten | 6987045 | 9294040 | High | permanent building
H29 | Safety and Security | Huntington | Shade structure | 2114000 | 2811620 | High | parking lot shade w/ PV solar
HS24 | Safety and Security | SMHS | Resurface and repair existing parking lot | 1839000 | 2445870 | High
HS25 | Safety and Security | SMHS | New parking lot | 667000 | 887110 | High
V21 | Safety and Security | Valentine | New drop-off area | 549000 | 730170 | High
C25 | Safety and Security | Carver | ADA path of travel upgrades | 500000 | 665000 | High
H32 | Safety and Security | Huntington | ADA path of travel upgrades | 500000 | 665000 | High
HS27 | Safety and Security | SMHS | ADA path of travel upgrades | 500000 | 665000 | High
V23 | Safety and Security | Valentine | ADA path of travel upgrades | 500000 | 665000 | High
C18 | Student Support & Counseling | Carver | Wellness center (minor expansion of admin space) | 204564 | 272650 | Medium
C22 | Safety and Security | Carver | New drop-off area | 329000 | 437570 | High
V26 | Safety and Security | Valentine | Decorative metal fencing and gates | 197000 | 262010 | High
HS29 | Safety and Security | SMHS | Rolling decorative metal gate | 170000 | 226100 | High
V20 | Safety and Security | Valentine | New parking lot | 154000 | 204820 | High
C24 | Safety and Security | Carver | Remove / replace retaining wall | 124000 | 164920 | High
HS30 | Safety and Security | SMHS | New exterior lighting for student safety | 119000 | 158270 | High
HS32 | Safety and Security | SMHS | New emergency signs and posts | 96000 | 127680 | High
H33 | Safety and Security | Huntington | New exterior lighting for student safety | 90000 | 119700 | High
C23 | Safety and Security | Carver | New concrete pedestrian paving | 89000 | 118370 | High
H36 | Safety and Security | Huntington | Perimeter CMU wall | 74000 | 98420 | High
HS28 | Safety and Security | SMHS | Decorative metal fencing and gates | 69000 | 91770 | High
HS31 | Safety and Security | SMHS | New safety locks to existing classroom doors | 63000 | 83790 | High
C29 | Safety and Security | Carver | New exterior lighting for student safety | 60000 | 79800 | High
V27 | Safety and Security | Valentine | New exterior lighting for student safety | 60000 | 79800 | High
V22 | Safety and Security | Valentine | New concrete pedestrian paving | 58000 | 77140 | High
V24 | Safety and Security | Valentine | Perimeter CMU wall | 58000 | 77140 | High
C28 | Safety and Security | Carver | Rolling decorative metal gate | 57000 | 75810 | High
H35 | Safety and Security | Huntington | New emergency signs and posts | 48000 | 63840 | High
H34 | Safety and Security | Huntington | New safety locks to existing classroom doors | 46000 | 61180 | High
C30 | Safety and Security | Carver | New safety locks to existing classroom doors | 37000 | 49210 | High
C27 | Safety and Security | Carver | Decorative metal fencing and gates | 36000 | 47880 | High
HS26 | Safety and Security | SMHS | New concrete pedestrian paving | 36000 | 47880 | High
C26 | Safety and Security | Carver | Rolling chain link gate | 34000 | 45220 | High
V25 | Safety and Security | Valentine | Rolling chain link gate | 34000 | 45220 | High
V28 | Safety and Security | Valentine | New safety locks to existing classroom doors | 25000 | 33250 | High
C31 | Safety and Security | Carver | New emergency signs and posts | 24000 | 31920 | High
V29 | Safety and Security | Valentine | New emergency signs and posts | 24000 | 31920 | High
H30 | Safety and Security | Huntington | New drop-off area | 9000 | 11970 | High
H31 | Safety and Security | Huntington | New concrete pedestrian paving | 3000 | 3990 | High
H10 | Site Utilities | Huntington | Electrical service upgrade & capacity expansion | 1173000 | 1560090 | High
HS10 | Site Utilities | SMHS | Electrical service upgrade & capacity expansion | 1063000 | 1413790 | High
V10 | Site Utilities | Valentine | Electrical service upgrade & capacity expansion | 702000 | 933660 | High
HS9 | Site Utilities | SMHS | Sanitary & Storm drain upgrades | 695000 | 924350 | High
H9 | Site Utilities | Huntington | Sanitary & Storm drain upgrades | 692000 | 920360 | High
C9 | Site Utilities | Carver | Sanitary & Storm drain upgrades | 623000 | 828590 | High
V9 | Site Utilities | Valentine | Sanitary & Storm drain upgrades | 405000 | 538650 | High
HS12 | Site Utilities | SMHS | Domestic plumbing & fire water | 386000 | 513380 | High
H12 | Site Utilities | Huntington | Domestic plumbing & fire water | 264000 | 351120 | High
HS11 | Site Utilities | SMHS | Natural gas | 129000 | 171570 | High
H11 | Site Utilities | Huntington | Natural gas | 76000 | 101080 | High
C17 | Student Support & Counseling | Carver | Learning center (moderate expansion of admin space) | 1080098 | 1437730 | High
H25 | Student Support & Counseling | Huntington | Existing learning center minor modernization & reconfiguration | 464695 | 618450 | High
HS52 | Technology Equipment | SMHS | Classroom tech - smart boards, projectors, audio, etc. (direct cost) | 1125000 | 1125000 | High
C43 | Technology Equipment | Carver | Classroom tech - smart boards, projectors, audio, etc. (direct cost) | 729000 | 729000 | High
H47 | Technology Equipment | Huntington | Classroom tech - smart boards, projectors, audio, etc. (direct cost) | 667000 | 667000 | High
V40 | Technology Equipment | Valentine | Classroom tech - smart boards, projectors, audio, etc. (direct cost) | 479000 | 479000 | High
C12 | Flex Labs, Science, VAPA, Theater & Elective Spaces | Carver | Minor modernization to existing spaces | 519078 | 691600 | Low
C13 | Multipurpose Room (MPR) & Food Service | Carver | MPR minor modernization, new A/V & lighting | 969000 | 1288770 | Low
C14 | Multipurpose Room (MPR) & Food Service | Carver | Lunch court | 1673019 | 2226420 | Low
C15 | Multipurpose Room (MPR) & Food Service | Carver | Food service area reconfiguration & small add'l building | 4625000 | 6151250 | Low
C16 | Library | Carver | Minor modernization to existing spaces | 511849 | 680960 | Low
C19 | Administration & Staff Support | Carver | Minor modernization to existing spaces | 624750 | 831250 | Low
C20 | Administration & Staff Support | Carver | Restroom Upgrades | 92000 | 122360 | Low
C11 | New Construction (Classrooms) | Carver | Grades 1-5 | 1391000 | 1850030 | Low | remove 2 portables; replace with modular building(s)
C33 | Safety and Security | Carver | Security cameras | 100000 | 133000 | Low
C34 | Outdoor Learning Environments & Quads | Carver | Landscape enhancements | 95200 | 127680 | Low
C35 | Outdoor Learning Environments & Quads | Carver | New learning courts | 590000 | 784700 | Low
C39 | Next Generation Classroom Flexibility | Carver | Flexible furniture - classrooms (direct cost) | 1375000 | 1375000 | Low
C40 | Next Generation Classroom Flexibility | Carver | Flexible furniture - library (direct cost) | 60000 | 60000 | Low
C41 | Next Generation Classroom Flexibility | Carver | Flexible furniture - MPR (direct cost) | 60000 | 60000 | Low
C42 | Next Generation Classroom Flexibility | Carver | Flexible furniture - lunch court (direct cost) | 60000 | 60000 | Low
C21 | Safety and Security | Carver | Replace parking lot lights w/ LED | 360000 | 478800 | Low | JMM: lights are relatively new and already LED
V13 | Flex Labs, Science, VAPA, Theater & Elective Spaces | Valentine | Reconfiguration of existing STEM lab | 428400 | 570570 | Low
V19 | Safety and Security | Valentine | Replace parking lot lights w/ LED | 108000 | 143640 | Low
V18 | Administration & Staff Support | Valentine | Minor modernization & reconfiguration of existing spaces | 1164266 | 1549450 | Low
V31 | Safety and Security | Valentine | Security cameras | 100000 | 133000 | Low
V32 | Outdoor Learning Environments & Quads | Valentine | Landscape enhancements | 171600 | 228760 | Low
V33 | Outdoor Learning Environments & Quads | Valentine | New learning courts | 406000 | 539980 | Low
V34 | Outdoor Learning Environments & Quads | Valentine | Enhance learning courts | 490875 | 653030 | Low
V37 | Next Generation Classroom Flexibility | Valentine | Flexible furniture - classrooms (direct cost) | 917000 | 917000 | Low
V38 | Next Generation Classroom Flexibility | Valentine | Flexible furniture - library (direct cost) | 60000 | 60000 | Low
V39 | Next Generation Classroom Flexibility | Valentine | Flexible furniture - lunch court (direct cost) | 60000 | 60000 | Low
H13 | New Construction (Classrooms) | Huntington | Classroom building to replace portables | 2756000 | 3665480 | Low | permanent building
H14 | Flex Labs, Science, VAPA, Theater & Elective Spaces | Huntington | Science & Art Existing Labs minor modernization & reconfiguration | 2317644 | 3082940 | Low
H15 | Flex Labs, Science, VAPA, Theater & Elective Spaces | Huntington | Science & Art Existing Labs small additional building | 1095861 | 1457680 | Low
H16 | Flex Labs, Science, VAPA, Theater & Elective Spaces | Huntington | Existing Music Room minor modernization & reconfiguration | 581196 | 774060 | Low
H17 | Flex Labs, Science, VAPA, Theater & Elective Spaces | Huntington | Existing Music Room small additional building | 365287 | 486780 | Low
H18 | Flex Labs, Science, VAPA, Theater & Elective Spaces | Huntington | Auditorium moderate modernization | 4056913 | 5395810 | Low
H19 | Multipurpose Room (MPR) & Food Service | Huntington | MPR modernization | 1320000 | 1755600 | Low
H20 | Multipurpose Room (MPR) & Food Service | Huntington | Food service modernization | 1634250 | 2174550 | Low
H21 | Multipurpose Room (MPR) & Food Service | Huntington | Food service building addition | 303000 | 402990 | Low
H22 | Multipurpose Room (MPR) & Food Service | Huntington | Lunch court | 529000 | 703570 | Low
H23 | Library | Huntington | Library reconfiguration | 1094800 | 1456350 | Low
H24 | Library | Huntington | Library building addition | 1219312 | 1622600 | Low
H27 | Administration & Staff Support | Huntington | Minor modernization & reconfiguration of existing admin & work room spaces | 1019000 | 1355270 | Low
H28 | Safety and Security | Huntington | Replace parking lot lights w/ LED | 108000 | 143640 | Low
C32 | Safety and Security | Carver | Landscape buffer at existing fence | 38000 | 50540 | Low
V30 | Safety and Security | Valentine | Shade sails | 37500 | 50540 | Low
H37 | Safety and Security | Huntington | Security cameras | 100000 | 133000 | Low
H38 | Outdoor Learning Environments & Quads | Huntington | New learning courts | 596000 | 792680 | Low
H39 | Outdoor Learning Environments & Quads | Huntington | New student amphitheater | 1469650 | 1955100 | Low
H40 | Exterior Play Spaces, Playfields & Hardcourts | Huntington | Shade structure | 991000 | 1318030 | Low | w/ PV solar
H41 | Exterior Play Spaces, Playfields & Hardcourts | Huntington | Resurface and repair hardcourts | 789000 | 1049370 | Low
H42 | Exterior Play Spaces, Playfields & Hardcourts | Huntington | Repair playfields (sod) | 692000 | 920360 | Low
H43 | Next Generation Classroom Flexibility | Huntington | Flexible furniture per classroom (direct cost) | 1250000 | 1250000 | Low
H44 | Next Generation Classroom Flexibility | Huntington | Flexible furniture per library (direct cost) | 60000 | 60000 | Low
H45 | Next Generation Classroom Flexibility | Huntington | Flexible furniture per MPR / cafeteria (direct cost) | 60000 | 60000 | Low
H46 | Next Generation Classroom Flexibility | Huntington | Flexible furniture per outdoor lunch area (direct cost) | 60000 | 60000 | Low
HS49 | Next Generation Classroom Flexibility | SMHS | Flexible furniture per library (direct cost) | 60000 | 60000 | Low
HS50 | Next Generation Classroom Flexibility | SMHS | Flexible furniture - MPR (direct cost) | 60000 | 60000 | Low
HS51 | Next Generation Classroom Flexibility | SMHS | Flexible furniture - cafeteria (direct cost) | 60000 | 60000 | Low
HS34 | Outdoor Learning Environments & Quads | SMHS | Enhancements to existing learning courts | 148000 | 196840 | Low
HS46 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | new football scoreboard | 166600 | 222110 | Low
HS41 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | Small storage building | 308448 | 410970 | Low
HS39 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | Field house modernization | 324870 | 432250 | Low
HS35 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | Resurface hardcourts | 343000 | 456190 | Low
HS36 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | Repair playfields (sod) | 396000 | 526680 | Low
HS20 | Library | SMHS | Existing Library Moderate modernization | 986272 | 1312710 | Low
HS47 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | new football lighting | 1071000 | 1424430 | Low
HS18 | Multipurpose Room (MPR) & Food Service | SMHS | MPR modernization | 1167000 | 1552110 | Low
HS21 | Administration & Staff Support | SMHS | Existing admin space minor modernization | 1270920 | 1690430 | Low
HS19 | Multipurpose Room (MPR) & Food Service | SMHS | Food service modernization | 1277000 | 1698410 | Low
HS33 | Outdoor Learning Environments & Quads | SMHS | Enhancements to existing student quad | 1339000 | 1780870 | Low
HS48 | Next Generation Classroom Flexibility | SMHS | Flexible furniture per classroom (direct cost) | 2166000 | 2166000 | Low
HS45 | Exterior Play Spaces, Playfields & Hardcourts | SMHS | New football bleachers, pressbox | 2695350 | 3585680 | Low
HS14 | Flex Labs, Science, VAPA, Theater & Elective Spaces | SMHS | Existing Music Room moderate modernization | 2681945 | 3567060 | Medium
HS16 | Flex Labs, Science, VAPA, Theater & Elective Spaces | SMHS | Existing Dance & Drama rooms additional building | 3177998 | 4226740 | Medium
HS15 | Flex Labs, Science, VAPA, Theater & Elective Spaces | SMHS | Existing Dance & Drama rooms moderate modernization & reconfiguration | 4654702 | 6191150 | Medium
HS17 | Flex Labs, Science, VAPA, Theater & Elective Spaces | SMHS | Existing Auditorium moderate modernization | 10501050 | 13967660 | Medium
HS13 | Flex Labs, Science, VAPA, Theater & Elective Spaces | SMHS | Science & Art Existing Labs moderate modernization & reconfiguration | 10576063 | 14067410 | Medium
HS23 | Physical Education Improvements | SMHS | Aquatics complex building & pool | 14265323 | 18973780 | Medium
HS22 | Physical Education Improvements | SMHS | Gymnasiums replacement | 37669611 | 50101100 | Medium

## Pivots - PivotTable1
PivotTable1
Priority | (Multiple Items)
Site | Site
Category | Carver | Huntington | SMHS | Valentine | Grand Total
Exterior Play Spaces, Playfields & Hardcourts | 6716500 | 0 | 14913290 | 3258500 | 24888290
Library | 0 | 0 | 0 | 1772890 | 1772890
Modernization / Reconfigure Existing Classrooms | 7434622 | 10098208 | 9441800 | 7678734 | 34653364
Multipurpose Room (MPR) & Food Service | 0 | 0 | 0 | 11218550 | 11218550
New Construction (Classrooms) | 10852800 | 0 |  | 29373050 | 40225850
Safety and Security | 1715700 | 3835720 | 4733470 | 2206470 | 12491360
Site Utilities | 828590 | 2932650 | 3023090 | 1472310 | 8256640
Student Support & Counseling | 1437730 | 618450 |  |  | 2056180
Technology Equipment | 729000 | 667000 | 1125000 | 479000 | 3000000
Grand Total | 29714942 | 18152028 | 33236650 | 57459504 | 138563124

## Pivots - Table 1
Target Cap: $135,000,000

## Sheet4
HS | 1 | HS1
HS | 2 | HS2
HS | 3 | HS3 | when done with ProjList_Init, protect it then copy that worksheet to ProjList_Mod and add column for Priority; can modify costs on this version
HS | 4 | HS4 | add worksheet for pivot tables
HS | 5 | HS5
HS | 6 | HS6
HS | 7 | HS7
HS | 8 | HS8 |  | Project Category | Carver | Huntington | SMHS | Valentine | Grand Total
HS | 9 | HS9 |  | Administration & Staff Support | ------------ | ------------ | ------------ | ------------ | ------------
HS | 10 | HS10 |  | Exterior Play Spaces, Playfields & Hardcourts | 6716500 | ------------ | 14913290 | 3258500 | 24888290
HS | 11 | HS11 |  | Flex Labs, Science, VAPA, Theater & Elective Spaces | ------------ | ------------ | ------------ | ------------ | ------------
HS | 12 | HS12 |  | Library | ------------ | ------------ | ------------ | 1772890 | 1772890
HS | 13 | HS13 |  | Modernization / Reconfigure Existing Classrooms | 7434622 | 10098208 | 9441800 | 7678734 | 34653364
HS | 14 | HS14 |  | Multipurpose Room (MPR) & Food Service | ------------ | ------------ | ------------ | 11218550 | 11218550
HS | 15 | HS15 |  | New Construction (Classrooms) | 10852800 | ------------ | ------------ | 29373050 | 40225850
HS | 16 | HS16 |  | Next Generation Classroom Flexibility | ------------ | ------------ | ------------ | ------------ | ------------
HS | 17 | HS17 |  | Outdoor Learning Environments & Quads | ------------ | ------------ | ------------ | ------------ | ------------
HS | 18 | HS18 |  | Physical Education Improvements | ------------ | ------------ | ------------ | ------------ | ------------
HS | 19 | HS19 |  | Safety and Security | 1715700 | 3835720 | 4733470 | 2206470 | 12491360
HS | 20 | HS20 |  | Site Utilities | 828590 | 2932650 | 3023090 | 1472310 | 8256640
HS | 21 | HS21 |  | Student Support & Counseling | 1437730 | 618450 | ------------ | ------------ | 2056180
HS | 22 | HS22 |  | Technology Equipment | 729000 | 667000 | 1125000 | 479000 | 3000000
HS | 23 | HS23 |  | Grand Total | 29714942 | 18152028 | 33236650 | 57459504 | 138563124
HS | 24 | HS24 | [5 empty] | Suggested Cap | 135000000
HS | 25 | HS25 | [5 empty] | Difference | 3563124
HS | 26 | HS26
HS | 27 | HS27
HS | 28 | HS28
HS | 29 | HS29
HS | 30 | HS30
HS | 31 | HS31
HS | 32 | HS32
HS | 33 | HS33
HS | 34 | HS34
HS | 35 | HS35
HS | 36 | HS36
HS | 37 | HS37
HS | 38 | HS38
HS | 39 | HS39
HS | 40 | HS40
HS | 41 | HS41
HS | 42 | HS42
HS | 43 | HS43
HS | 44 | HS44
HS | 45 | HS45
HS | 46 | HS46
HS | 47 | HS47
HS | 48 | HS48
HS | 49 | HS49
HS | 50 | HS50
HS | 51 | HS51
HS | 52 | HS52
HS | 53 | HS53
HS | 54 | HS54
HS | 55 | HS55
HS | 56 | HS56
HS | 57 | HS57
HS | 58 | HS58
HS | 59 | HS59
HS | 60 | HS60
HS | 61 | HS61
HS | 62 | HS62
HS | 63 | HS63
HS | 64 | HS64
HS | 65 | HS65
HS | 66 | HS66
HS | 67 | HS67
HS | 68 | HS68
HS | 69 | HS69
HS | 70 | HS70
HS | 71 | HS71
HS | 72 | HS72
HS | 73 | HS73
HS | 74 | HS74
HS | 75 | HS75
HS | 76 | HS76
HS | 77 | HS77
HS | 78 | HS78
HS | 79 | HS79
HS | 80 | HS80
HS | 81 | HS81
HS | 82 | HS82
HS | 83 | HS83
HS | 84 | HS84
HS | 85 | HS85
HS | 86 | HS86
HS | 87 | HS87
HS | 88 | HS88
HS | 89 | HS89
HS | 90 | HS90
HS | 91 | HS91
HS | 92 | HS92
HS | 93 | HS93
HS | 94 | HS94
HS | 95 | HS95
HS | 96 | HS96
HS | 97 | HS97
HS | 98 | HS98
HS | 99 | HS99

## Lookups
Site | Category | Priority
Carver | Modernization / Reconfigure Existing Classrooms | Low
Valentine | Site Utilities | Medium
Huntington | New Construction (Classrooms) | High
SMHS | Flex Labs, Science, VAPA, Theater & Elective Spaces
Del Mar Field | Multipurpose Room (MPR) & Food Service
District Office | Library
Maintenance Yard | Student Support & Counseling
Hill-Harbison Property | Administration & Staff Support
Physical Education Improvements
Safety and Security
Outdoor Learning Environments & Quads
Exterior Play Spaces, Playfields & Hardcourts
Next Generation Classroom Flexibility
Technology Equipment